## 1361
DATE | Run # | Isotope | Laser Freq. (THz) | Pulse Freq. (THz) | Laser Background (cps) | Mode | NOTES | Scans | Starting Voltage (V) | V Steps | V Step Size | Seqs | Time/Count | Time/Seq | 1173 (uA) | 1203 (uA) | BOB 0 (nA) | BOB 1 (nA) | BOB 2 (nA) | BOB0 (cps) | Fill Time (ms) | Release Time (ms)
3P1/2 to 5S1/2
UV power at 12-14 mW, Merion at 3.4 W
aligned through 5,5
2024-05-02 | [6 empty] | Anticollinear
| 16249 | 27 | 376.0519 |  |  | bunch | slits before MagneToF are closed, looks good | 1 | -160 | 140 | 1 | 100 | 5e-08 | 0.009
| 16250 | 27 | 376.0519 |  |  | bunch | opened slits, not quite bg to peak ratio of 10 | 1 | -160 | 140 | 1 | 100 | 5e-08 | 0.009
| 16251 | 27 | 376.0519 |  |  | bunch | tuning on resonance, no gain, seeing overall ion count decreasing |  | -122 | 1 | 1 | 100 | 5e-08 | 0.009
| 16252 | 27 | 376.0519 |  |  | bunch | looks good, autocalibration not on | 3 | -160 | 140 | 1 | 100 | 5e-08 | 0.009
| 16253 | 27 | 376.0519 |  |  | bunch | good | 3 | -160 | 140 | 1 | 100 | 5e-08 | 0.009
| 16254 | 27 | 376.0519 |  |  | bunch | good | 3 | -160 | 140 | 1 | 100 | 5e-08 | 0.009
| 16255 | 27 | 376.0519 |  |  | bunch | good | 3 | -160 | 140 | 1 | 100 | 5e-08 | 0.009
Collinear
UV power to 20mW, Channel E to 0.000 091 834 and Channel F to 0.000 282 854
| 16256 | 27 | 377.2148 |  |  | bunch | see resonance | 1 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
| 16257 | 27 | 377.2148 |  |  | bunch | tuning on resonance, no gain |  | 30 | 1 | 1 | 100 | 5e-08 | 0.009
| 16258 | 27 | 377.2148 |  |  | bunch | good | 3 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
| 16259 | 27 | 377.2148 |  |  | bunch | good | 3 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
| 16260 | 27 | 377.2148 |  |  | bunch | good | 3 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
Anticollinear
UV power to 12.5 mW, Channel E 0.000 091 830, Channel F 0.000 282 850
| 16261 | 27 | 376.0528 |  |  | bunch | See resonance but off center | 1 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
| 16262 | 27 | 376.0528 |  |  | bunch | tuning on resoannce, no gain |  | -19 | 1 | 1 | 100 | 5e-08 | 0.009
| 16263 | 27 | 376.0528 |  |  | bunch | good | 3 | -50 | 120 | 1 | 100 | 5e-08 | 0.009
| 16264 | 27 | 376.0528 |  |  | bunch | good | 3 | -50 | 120 | 1 | 100 | 5e-08 | 0.009
| 16265 | 27 | 376.0528 |  |  | bunch | good | 3 | -50 | 120 | 1 | 100 | 5e-08 | 0.009
Collinear
UV power to 20mW, Channel E to 0.000 091 834 and Channel F to 0.000 282 854
| 16266 | 27 | 377.2148 |  |  | bunch | looks good | 1 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
| 16267 | 27 | 377.2148 |  |  | bunch | tuning on resonance, no gain |  | 30 | 1 | 1 | 100 | 5e-08 | 0.009
| 16268 | 27 | 377.2148 |  |  | bunch | good | 3 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
| 16269 | 27 | 377.2148 |  |  | bunch | good | 3 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
| 16270 | 27 | 377.2148 |  |  | bunch | good | 3 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
Anticollinear
UV power to 13 mW, Channel E 0.000 091 830, Channel F 0.000 282 850
| 16271 | 27 | 376.0528 |  |  | bunch | wrong scan region, there but shifted from center | 1 | -60 | 120 | 1 | 100 | 5e-08 | 0.009
| 16272 | 27 | 376.0528 |  |  | bunch | tuning on resonance, no gain |  | -19 | 1 | 1 | 100 | 5e-08 | 0.009
| 16273 | 27 | 376.0528 |  |  | bunch | good | 3 | -50 | 120 | 1 | 100 | 5e-08 | 0.009
| 16274 | 27 | 376.0528 |  |  | bunch | optimizing timing between two lasers, original timing is best |  | -19 | 1 | 1 | 100 | 5e-08 | 0.009

## PIG_Settings
DATE | run | Vex (V) | B (A) | Vc (V) | Ic (mA) | Valve Position (%) | Pressure (mTorr) | D1203 (mTorr) | NOTE
|  | -3300 | 1.5 | -245 | 39 | 15 | 0.0139 | 5.1e-06 | at start

## Charge Exchange
run | temp degC | D1203(uA) | FC0(nA) | FC1 (nA) | FC2 (nA) | FC2 +50V (nA) | FC2 +50V rep +1000V (nA) | BCM4 (nA) | transmission | conversion | eff(2-0) | eff(2-1) | comment | Applied Voltage (kV) | Bob2/Bob1
|  | 7.1 | 26.4 | 20.4 |  |  | 1.5 | 120k |  |  |  |  | at start 5$5 and 30&35
|  |  | 2.7 pA | [9 empty] | at end, laser conditions
|  | 5.9 | 21.8 | 21 | 17.6 | 75.2 | between 5.8 and 4.7 | [5 empty] | at end high beam no apertures

## Alignment Checklist
Name | Brooke
Date | 2024-05-02
Place laser light barriers | X
Put up DANGER sign
on barriers | X
on 1361B entrance door | X
Notify people in 1361B | X
Indicator lamp service mode | X
Note (any abnormal condition?) | none
BECOLA laser alignment service-mode procedure in Rm 1361B - Credited administrative control with ESH impact
FRIB-N3010204-PR-001278-R001